FIELD INSPECTION & MAINTENANCE REPORT

Pump Station PS-012 Annual Inspection

Pinal Valley Water System  ·  Arizona Water Company

| Asset ID | AST-0012 | Asset Type | Pump Station |
| --- | --- | --- | --- |
| Location | Florence Blvd & Pinal Ave, Casa Grande | Inspection Date | 2026-04-18 |
| Inspector | Carlos Mendez | System | Pinal Valley |
| Condition Rating | Good (4/5) | Report Status | Submitted |

Findings

Pump 1 and Pump 2 operating within normal vibration tolerances.

Minor seal weep observed on Pump 2 discharge flange; not service-affecting.

Control panel SCADA telemetry reporting correctly to the historian.

Reservoir level transmitter calibrated and verified against manual gauge.

Condition Assessment

The pump station is in good operating condition with no immediate concerns. Routine maintenance is sufficient to keep the asset in service through its expected lifecycle.

Recommended Actions

Replace Pump 2 discharge flange gasket at next scheduled maintenance window.

Continue quarterly vibration analysis.

No capital action required this cycle.

Report filed by Carlos Mendez, AWC Field Operations. This inspection record is an internal operational document. Asset condition data feeds the AWC capital planning and maintenance scheduling process.